Emergency Response Planning Guide for 
Group B Water Systems

August 2013

DOH 331-211b

Part 1:  Guidance and Instructions

Introduction:
Protecting public health

Safe and reliable drinking water is vital to every community.  Emergency response planning is an essential part of managing a drinking water system.

Most public water systems have had routine operating emergencies such as pipe breaks, pump malfunctions, coliform contamination, and power outages.  These are manageable if the water system has an emergency response plan that can be put into action quickly.

More serious non-routine emergencies may result from intentional acts of sabotage, chemical spills, floods, earthquakes, windstorms, or droughts.  These can drastically affect the system and the community that depends on it.

Each emergency has unique effects on different parts of a water system.  Floods can cause widespread bacterial contamination, earthquakes can damage sources and distribution systems, and storms can disrupt power supplies.  The common element is that each emergency may threaten the system’s ability to deliver safe and reliable drinking water.

Emergency response planning is a process by which water system managers and staff explore vulnerabilities, make improvements, and establish procedures to follow in an emergency.  It is also a process that encourages people to form partnerships and get to know one another.  Preparing a response plan and practicing it can save lives, prevent illness, enhance system security, minimize property damage, and lessen liability.

How to use this document

Developing an emergency response plan can take a lot of time and effort.  The purpose of this document is to make the job easier and help create a plan that works for your water system.  The document is intended for use by a Group B water system and may be modified to fit the specific needs of each system.  Water systems should consider each section and use what is relevant for the type, size, and complexity of the system.

The document has two main parts with identical structure.  Part 1 discusses important emergency response planning elements and provides instructions and examples to help complete Part 2, which is a template for creating your own plan.  The document is available electronically on the Web at:    http://www.doh.wa.gov/ehp/dw/Security/Publications.htm

Section  1.
Emergency response mission and goals

Stating a mission and goals for emergency response is an important first step because it helps a water system focus on the important aspects of the plan.  The mission statement and goals should reflect the system’s obligation to protect the health and safety of its customers, staff, and assets – and be able to maintain or restore safe and reliable drinking water.  Developing partnerships with key response agencies should be reflected in the goals.

System personnel should begin by understanding what needs to be accomplished during an emergency.  Protecting your customers’ health is paramount.  If the water has been contaminated, you must notify customers quickly.  Then you must resolve the situation at hand and restore safe and reliable water throughout the system.

Example:  Emergency response mission and goals

| Mission statement for emergency response | In an emergency, the mission of the XYZ water system is to protect the health of our customers by being prepared to respond immediately to a variety of events that may result in contamination of the water or disruption of supplying water. |
| --- | --- |
| Goal 1 | Be able to quickly identify an emergency and initiate timely and effective response action. |
| Goal 2 | Be able to quickly notify local, state, and federal agencies to assist in the response. |
| Goal 3 | Protect public health by being able to quickly determine if the water is not safe to drink or use and being able to immediately notify customers effectively of the situation and advise them of appropriate protective action. |
| Goal 4 | To be able to quickly respond and repair damages to minimize system down time. |

The mission and goals are always the same, but your response procedures should be flexible because every emergency is different and may require a specific sequence of response actions to protect lives and minimize damages.  In any event, there are a series of general steps that a water system should take:

- Confirm and analyze the type and severity of the emergency.

- Take immediate actions to save lives.

- Take action to reduce injuries and system damage.

- Make repairs based on priority demand.

- Return the system to normal operation.

Section  2.
System Information

In any emergency, a water system needs to have basic information available for both system personnel, and external parties such as emergency responders, repair people,  and others.  The information needs to be clearly formatted and readily accessible so system staff can quickly find it and provide it to those who may be involved in responding to the emergency.  Providing this information in advance is an important step in forming partnerships.

Basic information that should be presented in the emergency response plan are the system’s ID number, system name, system address or location, directions to the system, population served, number of service connections, system owner, and information about the person in charge of managing the emergency.  Below is an example of how to present the information.

Example:  System information

| System identification number | 19900 |  |  |
| --- | --- | --- | --- |
| System name and address | XYZ Water System 1000 Anywhere Street XYZ, WA 98000 |  |  |
| Directions to the system | North on route 6 to exit 88. Take right and head west for 2.9 mile to XYZ drive. Take a left onto XYZ drive and go .5 miles. Office is on the left. Pump-house and treatment facilities are .2 miles past office on the right. |  |  |
| Basic description and location of system facilities | The XYZ water system has one groundwater well. There are six pressure tanks, and about 3,000 feet of 2-3 inch distribution main. |  |  |
| Location/Town | XYZ |  |  |
| Population served and service connections from Division of Drinking Water records. | 20 people | 7 connections |  |
| System owner (the owner should be listed as a person’s name) | XYZ Homeowners’ Association |  |  |
| Name, title, and phone number of person responsible for maintaining and implementing the emergency plan. | Marsha Ready President |  | (360) 232-2323 Phone (360) 790-2323 Cell (360) 799-8999 Pager |

Section  3.
Chain of Command – Lines of Authority

When an emergency occurs, there can be confusion, lack of coordination, and poor communication.  Timely and effective response can minimize the effects of an emergency.  Often, the initial response sets the tone for the entire emergency.

Having an alternative main contact and chain of command that defines clear lines of authority and responsibilities for people during an emergency speeds up response time and helps eliminate confusion.  Community members need to know who to report the emergency to, who manages the emergency, who makes decisions, and what their own responsibilities are.

The first response step in any emergency is to notify the person at the top of the chain of command – the person responsible for managing the emergency and making key decisions.  This lead person will assess the situation and initiate a series of response actions based on the type and severity of emergencyA small system should list an alternative person in the chain of command

In addition to an individual having the lead responsibility, other key responsibilities that  should be assigned to system personnel include the following tasks:

- Handle incoming phone calls

- Contact the customers.

- Assess the system’s facilities and operations in the field.

- Organize and carry out repairs.

Example:  Chain of command – lines of authority

| Name and title | Responsibilities during an emergency | Contact numbers |
| --- | --- | --- |
| Marsha Ready Water Association President | Responsible for overall management and decision making for the water system. The Water Association President is the lead for managing the emergency and providing information to local and state energemcy agencies,. All communications to external parties are to be done through the President. | Phone: (360) 232-2323 Cell: (360) 790-2323 Pager: (360) 799-8999 |
| John J. Dunbar Water Association Vice President | Takes care of logistics, including contact with contractors and suppliers, and conducting an assessment of damage. Supports association president. | Phone:(360) 232-2344 Cell: (360) 790-2344 Pager: (360) 799-8966 |
| Mary Marshall Volunteer | Making phone calls and keeping a log of events. Delivers door hangers and supports association president. | Phone: (360) 232-2312 Cell: (360) 790-2312 Pager: (360) 799-8933 |

Section  4.
Events that Cause Emergencies

Why do emergencies happen?  There are a variety of reasons including:

- Natural disasters.

- Accidents.

- Deliberate acts of vandalism or terrorism.

- System neglect or deferred maintenance.

An emergency may affect the entire water system or only isolated sections.  You should evaluate a variety of events regarding their potential effects on the water system and its infrastructure.  Each type of event can cause different types of damage to system components or contamination resulting in a disruption in service.  These evaluations should be reflected in the water system’s vulnerability assessment and procedures for responding to specific events that are discussed later in this document.

## Waterborne Illness in Walkerton, Ontario (2000)

What happened:  Storm washes bacteria-laden cow manure into poorly planned and maintained well.  Water pumped to taps throughout the town of Walkerton.  Operational problems included inconsistent treatment of the water, falsification of water quality tests, mislabeling samples, and failure to notify public health officials in order to avoid regulators.

Results:  Seven deaths, 2,300 illnesses from E.coli and campylobacter poisoning.

The fix:  More than $11 million spent in reconstructing town’s water system and installing temporary filtration.

Judicial inquiry:  To find out what went wrong and to examine overall water safety.  Found that water system operators were not trained to adequately operate a water system, and they falsified records and water quality tests.

Fallout:  Class action suit for as much as $70 million.  Government implements new water regulations.  Careers ruined.

Cost:  Study estimates financial cost of the tragedy at $155 million.  Seven lives lost and many ongoing illnesses.

Natural Disasters

Consider common natural disasters when developing an emergency response plan, including:

Earthquakes:  Damage resulting from the earth shifting along geologic faults resulting in shaking and settling of the ground can cause severe structural damage to virtually all water system facilities, including sources, transmission and distribution lines, storage reservoirs, and pump-houses.  The Nisqually earthquake in February 2001, although not severe, caused problems for water systems in western Washington.  Distribution pipes and service lines broke, storage reservoirs shifted, and buildings were damaged.  Although no major outages were reported, it was a serious reminder that these things can and do happen.

Emergency response plans should evaluate what facilities are at risk during an earthquake, what can be done to mitigate impacts (for example, strapping down reservoirs), and what actions can be taken to respond to such an event.  It is also important to have backup communication plans, because radios and cell phones may not work after an earthquake.

Floods:  Floods are a common event in the Pacific Northwest.  They can cause widespread contamination as turbid waters carry bacteria that can overflow sources, transmission lines, treatment facilities, and pumping facilities.  Floods can also ruin electrical components and telemetry systems.

It is important for a water system to assess its vulnerability to flooding.  Consider damage to roads and bridges where distribution or transmission lines are located.  Washout of roads or bridges not only damage pipes but also can interfere with repair.  If the risk for a flood is high, the water system should plan for and consider mitigating actions to protect facilities and equipment.

Another consideration is identification of alternative transportation routes to get in and out of the area.

High winds:  Pacific Northwest storms often generate winds in excess of 50 miles an hour and have exceeded hurricane-force sustained winds of 74 miles an hour or greater from time-to-time.  These storms often disrupt power and damage water system facilities.

Ice Storms:  There are occasional ice storms in the Pacific Northwest, such as the one that hit in December 1996.  This fierce storm caused major power outages and froze water pipes.  The ice slowed the ability of crews to get to areas to make repairs.

Drought:  Droughts are an issue in the Pacific Northwest and can have devastating effects on water supplies.  During normal years, peak summer demands can double and even triple water use.  These same demands during low water years, such as in the summer of 2001, can lead to water shortages.  Drought severity is affected by a combination of environmental factors, all of which change over time, including rainfall, temperature, snow pack, and length of drought.  Compared to other natural disasters, drought has a relatively slow onset and is easier to anticipate.

Waterborne diseases:  Organisms such as Giardia and Cryptosporidium can contaminate water supplies and cause waterborne diseases.  The 1993 Milwaukee, Wisconsin Cryptosporidium outbreak killed more than 100 people and sickened more than 400,000.  Another incident occurred in Walkerton, Ontario where an E. coil outbreak killed seven people and sickened over 2,300 (see sidebar on previous page).  Both of these cases illustrate that proper operations, management, and planning are truly a matter of life-or-death.

Human-caused events

Human-caused events that can result in a water system emergency include chemical spills, vandalism, terrorism, cyber-attack, fires, construction accidents, and basic neglect of maintaining the system.

Vandalism:  Vandalism is generally a spur-of-the-moment act using materials at hand rather than pre-planned or pre-meditated activities.  Vandals often break into systems, damage facilities, and paint graffiti.  These acts are relatively easy to prevent by enhancing security, increasing lighting, installing locks on doors and hatches, and putting up security fencing.

System neglect:  System neglect, often referred to as deferred maintenance, is a major cause of emergencies.  System components that are aging and need replacement go without attention for so long that they fail, causing an emergency.  Drinking water systems need to continuously evaluate facilities and replace them before a massive failure occurs.  In one case, a drinking water system continuously put off repairing its major transmission line that traversed a hillside in town.  The line finally failed and caused an immense slide, destroying a number of homes and causing significant damage.

# Security Breach in Glen
Rose, Texas (2002)

The incident:  One night, someone cuts a fence around one of the town’s reservoir sites, climbs a 25-foot 200,000-gallon tank, and opens a locked hatch. City unable to quickly determine if a public health threat exists.

Actions taken:  EPA alerted, along with FBI, Texas Department of Health, Natural Resource Commission, and Department of Homeland Security.  EPA assembles a response team of drinking water experts to evaluate the water supply.  Water in the tanks isolated, and analysis conducted to determine if water is safe to drink.  Investigation begun to determine if this is terrorist activity.

Questions:  What kinds of sampling should be conducted?  Who has the expertise to do the analysis?  How long does it take to get test results?

Analysis conducted:  Traditional drinking water parameters, hazard characterization (HAZCAT), radiation, warfare agents.  Forensics include light/polarized microscopy, infrared analysis, electron microscopy, and x-ray diffraction.

Difficult issues:  Fire fighting vulnerability from low volume, identifying sensitive customers, maintaining acceptable water pressure, customers unhappy with the length of the incident.

Results:  All lab tests negative.  City, state agencies, and EPA discuss findings and conclude the water is not a threat to health.

Tank drained, cleaned, disinfected, and placed back on-line after ten days.

Cross Connections:  A cross connection is an actual or potential physical connection between a public water system and any source of non-potable liquid, solid, or gas that could potentially contaminate water supply through a backflow process.  Cross connections usually occur unknowingly when someone makes a connection in the system.  Backflow is the reverse flow of water or other substances into the public water system.  Under backflow conditions, unprotected cross-connections can provide a path for biological, chemical, or physical contaminants to enter the water supply.  These contaminants can lead to waterborne disease outbreaks, chemical poisonings, and sometimes death.  Backflow usually occurs when there is a loss of pressure somewhere in the system causing water to reverse itself.

Construction accidents:  Construction accidents sometime fall into the category of a routine operating emergency.  For example, when a contractor damages a water line and the system needs to be shut down for repair.  If the response is not timely and effective, this kind of incident can turn into a serious emergency.  The system may loose pressure, resulting in serious backflow incidents that contaminate the water.  The utility must be aware of construction in and around the system and be prepared to respond quickly to an accident if it happens.

Chemical spills:  Many chemicals that are routinely transported can harm humans directly or by contaminating air or water.  No drinking water system is safe from a hazardous chemical spill and the resulting contamination.  Spills can come from motor vehicles, trains, airplanes, boats, or fixed containers.  They can occur at any time without warning, and many solvents are able to leach through PVC pipes.  In one 1981 incident, a small crop duster spraying a dangerous herbicide crashed into a central California river upstream from a water intake for a city water supply, resulting in a major emergency.

Water systems should evaluate the potential for chemical spills in their wellhead protection programs and use that information for emergency response planning.

A water system may be vulnerable to many natural and man-made disasters.  Understanding these vulnerabilities is an important part of emergency planning.  In preparing a plan, you may not consider it necessary to do an extensive analysis of a rare event such as a tornado in the Pacific Northwest.  However, analyzing the impacts of an earthquake, flood, or storm is important because they happen quite often in Washington.  Consider the probability of an event and its likely effect on the water system.  Then focus on the actions needed to reduce impacts and respond in a timely and effective manner.

Example:  Events that cause emergencies

| Type of event | Probability or risk (High – Med – Low) | Comments |
| --- | --- | --- |
| Earthquake | High | Had minor earthquake damages in February 2001 quake. |
| Flood | Low | System not located in an area vulnerable to flooding. |
| High winds | High | System is vulnerable to high wind events. Power is disrupted. |
| Ice storm | Med | Minor damage caused in December 1996. Broken pipes and damaged pump house. |
| Drought | Med | Need to plan for decrease I well yield during dry summers. |
| Construction accident | Med | Construction crews often hit pipes. |
| Chemical spill | Low | Complete wellhead protection plan. |

Emergencies usually have a wide range of severity.  Defining categories of severity can significantly aid in determining appropriate response actions.  Knowing the severity of the emergency and being able to communicate it to others will help system personnel keep their response balanced and effective.

Making a decision on severity should be collaborative among system personnel, but is ultimately made by the person in charge of the emergency.  The person in charge may also choose to coordinate with external parties, especially if partnerships have been formed in advance of the event.  The information for making the decision will accumulate over time, and may result in the level of severity being changed.

An assessment of severity, once decided, must be communicated immediately to all those dealing with the emergency.  Make sure staff have cell phones, pagers, and/or radios when they are in the field.  Remember to have an alternative method of communicating if cell phones and pagers won’t work.

In classifying the severity of an emergency, define as many levels and descriptions as you find useful.  The following is a four-level example for a water system supplied by groundwater that has been used in many settings.  This is just an example; you may choose to classify emergencies in some other way.  Smaller systems may prefer a three-level scheme; some larger systems may want to use five or more levels.

Level I – Normal (Routine) Emergency:  The system experiences a normal emergency, such as a line break or power outage.  System personnel are able to handle the problem with minimal outside assistance.  In this situation is not likely that public health will be immediately jeopardized. Although it is important to begin responding, system personnel should have no difficulty remaining calm and thoroughly working through the situation.  Normal events can usually be resolved within 24 hours.

Section  5.
Emergency Notification

During most emergencies, it will be necessary to quickly notify a variety of parties.

Preparation for such notification has three essential components:

- Assigning responsibility to oversee and carry out the notifications.

- Assembling comprehensive call-up lists with names and contact numbers.

- Writing out procedures for quickly disseminating information to appropriate parties.

If you don’t have readily available notification information or the means to deliver it, you run the risk of losing valuable response time.  This may make the difference between minor and major damages.  Having well-formed partnerships will help during these times.

Water system managers from relatively small systems should poll customers to determine the best method of communicating.  It is also a good idea to give customers some general safety information regarding what to do in case of an emergency before one happens.

Notification call-up list

Call-up lists should be comprehensive, including local law enforcement, DOH Office of Drinking Water regional office, Department of Ecology spill response, local health officials, local emergency responders ,water testing laboratories, and service/repair providers.

Notification procedures

Once you have your list completed it is important to describe the procedures you will use to quickly distribute information to appropriate parties.  These procedures describe how to make notifications to specific parties, who is responsible for conducting the notifications, who assists in the notifications, and what methods are used to complete them.  In addition, specific procedures on how to issue a health advisory should be defined so that you are prepared to do so in the event that your water supply is unsafe for drinking or use.  Issuing a health advisory should be done by the water system when there is reason to believe the water is unsafe.  DOH staff members are available for consultation in making this decision.

Other procedures to define include:

- Alerting local law enforcement, drinking water officials, local health officials, and water testing laboratories when appropriate.

- Contacting service and repair contractors.

- Contacting neighboring water systems for assistance, if necessary.

- Arranging for alternative water supplies such as bottled water.

Section  6.
Water Quality Sampling

Many types of emergencies can jeopardize the quality of water and potentially sicken those using the water.  Because the most important goal for any water system is to protect human health, the system must know how to act quickly and make decisions on whether to issue a health advisory.  Sampling and obtaining results from a lab takes time.

If there is reason to believe that the water has been contaminated, the water system manager should consult with DOH and consider issuing a health advisory as soon as possible – often before conducting water quality sampling.

Contamination of drinking water, whether intentional or unintentional, comes in many forms, which are classified in four general categories:

- Inorganics such as metals or cyanide.

- Organics such as pesticides or volatile compounds.

- Radionuclides.

- Pathogenic microorganisms or microbial organisms.

If the water system is experiencing an emergency caused by a natural event or intentional act and contamination is suspected, system personnel may be faced with making a decision about what contaminants to test for and how to get the tests performed quickly.

As you prepare your emergency response plan, consider the following tests:

Coliform Bacteria:  In the event of an emergency, testing for coliform is a standard first test, and if coliform is detected it is a signal that the system may be contaminated.  Coliform bacteria are organisms that are present in the environment and in the feces of all warm-blooded animals, including humans.  Coliform bacteria generally do not cause illness, but their presence indicates that other disease-causing organisms (pathogens) may be in the water system.  Most pathogens that contaminate water supplies come from the feces of humans or animals.  Testing drinking water for all possible pathogens is complex, time-consuming, and expensive.  It is, however, relatively quick, easy, and inexpensive to test water for coliform bacteria.

Chlorine Residual:  In chlorinated systems, this test indicates if materials introduced into the water have created a demand for the chlorine, leaving lower-than-normal or no residual and signaling the need for further evaluations.  Samples need to be taken at the distal end of the distribution system (the point farthest from the start of the distribution system).

Chlorine Demand:  In systems that do not routinely chlorinate, this test reveals unusual demands on the oxidizing capability of the added chlorine, indicating the presence of a contaminant that warrants further investigation.

Nitrate/Nitrite:  This test is relatively easy to perform.  It is important to know whether these acute contaminants are present at levels that could harm infants.

Example:  Water quality sampling

| Sampling parameter | Do we have procedures? Yes/No | Basic steps to conduct sampling (sites, frequency, procedures, lab requirements, lab locations, lab contacts, lab hours, etc.) |
| --- | --- | --- |
| Coliform Bacteria | Yes | Update plan for emergency sampling |
| Chlorine Residual | Yes | Evaluate procedures |
| Chlorine Demand | Yes | Evaluate procedures |
| Nitrate/Nitrite | Yes | Evaluate procedures |

Section  7.
Effective Communication

Health Advisories

During events when water quality and public health are in question, it may be necessary to issue a health advisory.  The term “Health Advisory” means advice or recommendations to water system customers on how to protect their health when drinking water is considered unsafe.  These advisories are issued when the health risks to the consumers are sufficient, in the estimation of the water system or state or local health officials, to warrant such advice.

Health advisories usually take the form of a drinking water warning or boil water advisory.  Communication during these times is critical.  DOH Office of Drinking Water staff are committed to working closely with water systems to determine if an advisory is needed.  Health advisories should always be well thought out and provide very clear messages.

DOH has put together a number of tools, including fact sheets, brochures, door hangers forms, and template to help water systems be prepared to issue a health advisory.  Learn about health advisories and how to issue them before you actually need to.  It will make the process much smoother.  Learn more about the coliform health advisory packet by visiting the Drinking Water Web site at:  http://www.doh.wa.gov/ehp/dw/Coliform/coliform.htm

Section 8.
Response Actions for Specific Events

Develop a detailed response plan for each type of emergency event that the system may experience.  In any event there are a series of general steps that a water system should take:

- Confirm and analyze the type and severity of the emergency.

- Take immediate actions to save lives.

- Take action to reduce injuries and system damage.

- Make repairs based on priority demand.

- Return the system to normal operation.

Knowing the various elements of emergency response planning and keeping in mind these general steps will help you develop response actions for specific events.

Establishing response actions for specific events

There are numerous events which may cause an emergency that are dictated by the system’s size, complexity, type of source, and geographic location.  As discussed before, likely causes of emergencies in our state that a system should consider are power outages, transmission or distribution line breaks, chlorine treatment failure, surface water treatment malfunction, source pump failures, microbial (coliform, E. coli) contamination, chemical contamination, acts of terrorism, vandalism, loss of water in the well, drought, floods, ice storms, earthquakes, and hazardous spills in the vicinity of sources or distribution lines.  In any of these situations your priority is the protection of people using the water.   Be observant of what is going on around you, and if you suspect vandalism or terrorism, contact local law enforcement and make every effort to preserve evidence.

These are only starting points, since each system is unique and may encounter additional situations that are important to be prepared for.  Use partnerships to assist in this effort.  The following table presents a way to identify an event, summarize the assessment, set forth immediate response actions, define what notifications need to be made, and describe important follow-up actions.

Example:  Power outage

| # Assessment | The XYZ water system is vulnerable to power outages, experiencing an average of three outages per year that last several hours. The system does not have a back-up generator but has a connection so that a generator can be rented and plugged into the system. Most of the time, storage is able to supply the system for several hours until power is restored. |
| --- | --- |
| Immediate actions | - Assess whether the outage is likely to last more than 6 hours. If no, be on alert for changing conditions and monitor storage tanks. If yes, complete the following steps: - Call on availability of back-up generator at JJ’s Rentals. - Obtain generator if available. - Connect generator to system and resume operations. - Implement water shortage response actions to inform customers to cut back on water usage until power is restored. |
| Notifications | - Power Company – Let them know that a public water system is experiencing an outage and the generator will be turned on until power is restored. - JJ’s Rentals – Obtain generator - Customers – cut back on water usage until power is restored. |
| Follow-up actions | - Turn off and disconnect back-up generator - Return system to general power supply - Inspect reservoirs and pumping facilities to ensure proper operation. - Return generator to JJ’s. |

Section 9.
Alternative Water Sources

Water contamination or disruption of supply may require that the water system get water from an alternative source to meet basic community needs.  All public water systems should plan ahead to provide alternate safe water during an emergency, if feasible.  It is important to evaluate potential alternative water supplies ahead of time to ensure the water is safe and the supply is available.

Another important consideration is whether the water system can establish an intertie with an approved water supply that might benefit both systems in an emergency.  Discuss this possibility with adjacent water systems.  Other alternatives include bottled water suppliers or a local tanker truck that could bring in water for various uses.

Example:  Intertie to adjacent water supply system

| Water systems within one-quarter mile of our system | Feasibility of connecting |
| --- | --- |
| There is one water system located within one-quarter mile of the XYZ water system. The XYZ distribution system is within 1000 feet of the other water system. | The system has discussed installing an intertie with the adjacent water supply. The system is willing, but at this time cannot assist financially. The cost of the project is about $10,000 to install pipe and an intertie connection. Unless the other system can assist financially it is not feasible for the XYZ system to construct the intertie until 2006. |

Example:  Alternate source(s) of water

| Alternative sources | Names | Phone | Availability | Is the water safe for drinking? |
| --- | --- | --- | --- | --- |
| Bottled water suppliers | Bottled Water Inc. | (360) 222-2222 | Up to 1000 gallons in 1 gallon jugs within 24 hours | Yes |
| Tanker trucks in the area available to deliver bulk water | Fred Jones, local dairy truck | (360) 333-3333 | 5000 gallons in less than 6 hours | No |

Section 10.
Curtailing Water Use

An emergency may require reducing water usage, so you should identify curtailment measures in advance.  Possible measures include restrictions on landscape watering, car washing, filling of swimming pools and hot tubs, and other nonessential activities such as cleaning driveways and sidewalks.  There can be various combinations of voluntary and mandatory measures.  The water system should develop and formally adopt measures through ordinance, resolution, or by-laws.

As part of this effort, consider ways to inform customers about the need to curtail water use.  Examples include door-to-door postings, phone contact, posting of signs in visible community areas, and contacting the news media.  Curtailment messages should be pre-scripted to ensure proper messages are delivered.

Example:  Curtailing water use

| Water curtailment measures | Actions |
| --- | --- |
| Restrict outside water usage including watering lawns, washing cars, etc. Request curtailment of inside usage. | - Upon making the decision that curtailment is needed: - Draft door hanger with curtailment messages. - Post on customer doors. - Contact KYGO AM news to announce curtailment message. - Monitor system usage and spot check meter usage if time is available. - Continue message as long as curtailment is warranted. |

Section 11.
Returning to Normal Operation

As the emergency passes and you regain control, the system must prepare to return to normal operating condition.  This may be a very simple or very complex process, depending on the type and severity of the emergency.   Returning to normal operation may simply mean the system restores power and the back-up generator is disconnected.  Or it could mean the system has to obtain the proper number of satisfactory coliform tests and disinfect the system in order to lift a health advisory.

Many factors might need to be considered before you decide to return to normal operation.  For example:

- Has the system been repaired to the point that it can meet demand?

- Has the system operator made a safety and operational inspection of all system components?

- Has the system been properly flushed, disinfected and pressure tested?

- Has the water been adequately tested in accordance with sampling regulations?

- Does the water meet standards?

- Is there adequate staff to operate and manage the system?

- Do federal, state, and local agencies support returning to normal operation?

- Have you developed the proper public messages?

The emergency response plan should include a discussion of the follow-up actions and staff responsibilities that the system must take before returning to normal operation.

Example:  Returning to normal operations

| Action | Description and actions |
| --- | --- |
| Inspect, flush, and disinfect the system, | Water system operator and support staff inspect all system facilities, ensure all water quality tests have been done and the system has been flushed and disinfected if necessary. Water system operator makes a report to the water system manager. Water system manager makes decision on current condition of system. |
| Verification of water quality | Water system manager verifies water quality sampling results. |
| Coordinate with DOH | Water system manager coordinates with DOH on system condition and water quality results. |
| Notify customers | Water system manager meets with water system operator and communications lead to write notice to customers. Water system manager directs communications lead to distribute public notice. |

Part 2:  Planning Template

Introduction:

Preparing an emergency response plan is an essential part of managing a drinking water system.  The Department of Health (DOH) has made this template available to all public water systems in the state to help them develop such plans.

How to use the template

The template follows the outline in Part 1 of this document.  Part 1 discusses key components of emergency planning and provides examples of how you might present information in your plan.  Use Part 1 as a tool to learn about emergency planning and then fill out the template provided here as you go through your planning process.

The template is just a guide; you may modify it in any way that works for you – add sections, take them out, or rearrange them if you wish.  You may also use a completely different format for your plan if you find one that works better for your system.

An electronic copy of the template is available, and allows you to easily fill in the blanks using a computer if you wish.  To obtain the template you can visit the DOH Office of Drinking Water web site at http://www.doh.wa.gov/ehp/dw/Security/Publications.htm

Section  1.
Emergency Response Mission and Goals

Use the mission statement and goals to help focus emergency planning and response.

Emergency response mission and goals

| Mission statement for emergency response |  |
| --- | --- |
| Goal 1 |  |
| Goal 2 |  |
| Goal 3 |  |
| Goal 4 |  |

Section  2.
System Information

Keep this basic information readily available for when you need it for emergency responders, repair people, and the news media.

System information

| System identification number |  |  |  |
| --- | --- | --- | --- |
| System name and address |  |  |  |
| Directions to the system |  |  |  |
| Basic description and location of system facilities |  |  |  |
| Location/Town |  |  |  |
| Population served and service connections from Division of Drinking Water records. | ________ people | ________ connections |  |
| System owner (the owner should be listed as a person’s name) |  |  |  |
| Name, title, and phone number of person responsible for maintaining and implementing the emergency plan. |  |  | _______________ Phone _______________ Cell _______________ Pager |

Section  3.
Chain of Command – Lines of Authority

The first response step in any emergency is to inform the person at the top of this list, who is responsible for managing the emergency and making key decisions.

Chain of command – lines of authority

| Name and title | Responsibilities during an emergency | Contact numbers |
| --- | --- | --- |

Section  4.
Events that Cause Emergencies

The events listed below may cause water system emergencies.  They are arranged from highest to lowest probable risk.

Events that cause emergencies

| Type of event | Probability or risk (High-Med-Low) | Comments |
| --- | --- | --- |

Section  5.
Emergency Notification

Notification call-up lists

Use these lists to notifying important parties during of an emergency.

#### Local notification list

| Local Law Enforcement day | Local Law Enforcement night |
| --- | --- |
| Fire Dept day | Fire Dept night |
| Ambulance service day | Ambulance service night |
| Local Health Jurisdiction day | Local Health Jurisdiction after hours |
| Water Testing Laboratory day | Water Testing Laboratory after hours |
| Local emergency management day | Local emergency management after hours |
| Water System Operator day | Water System Operator night |
| Neighboring Water System day | Neighboring Water System night |
| Neighboring Water System day | Neighboring Water System night |
| News Media Contact | Local Radio Station |
| Other | Other |

#### State notification list

| State Police day | State Police night |
| --- | --- |
| Office of Drinking Water Regional Office day | Office of Drinking Water after hours |
| State testing laboratory day | - State testing laboratory after hours |
| Other | Other |

#### Service/repair notification list

| Electrician day | Electrician night |
| --- | --- |
| Electric Utility day | Electric Utility night |
| Plumber day | Plumber night |
| Pump Specialist day | Pump Specialist night |
| Soil Excavator day | Soil Excavator night |
| Equipment Rental day | Equipment Rental night |
| Other | Other |
| Other | Other |

Notification procedures

Notifying water system customers

| Who is Responsible: |  |
| --- | --- |
| Procedures: |  |

Alerting local law enforcement, state drinking water officials, and local health

| Who is Responsible: |  |
| --- | --- |
| Procedures: |  |

Contacting service and repair contractors

| Who is Responsible: |  |
| --- | --- |
| Procedures: |  |

Contact neighboring water systems, if necessary

| Who is Responsible: |  |
| --- | --- |
| Procedures: |  |

Procedures for issuing a health advisory

| Who is Responsible: |  |
| --- | --- |
| Procedures: |  |

Other procedures, as necessary

| Who is Responsible: |  |
| --- | --- |
| Procedures: |  |

Section  6.
Water Quality Sampling

If contamination is suspected, notify and work with the local health jurisdiction and State DOH, Office of Drinking Water (ODW) regional office to help identify what testing should be done.  This may help prevent illness or even death.

Water quality sampling

| Sampling parameter | Do we have procedures? Yes/No | Basic steps to conduct sampling (sites, frequency, procedures, lab requirements, lab locations, contacts, etc.) |
| --- | --- | --- |
| Coliform Bacteria |  |  |
| Hetertrophic Plate Count (HPC) |  |  |
| Chlorine Residual |  |  |
| Chlorine Demand |  |  |
| Nitrate/Nitrite |  |  |
| Total Organic Carbon (TOC) |  |  |
| Total Halogenated Organic Carbon (TOX) |  |  |

Section  7.
Effective Communication

Communication with customersis a critical part of emergency response.

Designated public spokesperson

Designate a spokesperson (and alternates) for delivering messages to the public and local/state authorities

Designate a spokesperson and alternates

| Spokesperson | Alternate 1 | Alternate 2 |
| --- | --- | --- |

Key messages

Develop possible messages in advance, and update them as the emergency develops:

Health advisories

During events when water quality and human health are in question, it may be necessary to issue a health advisory that gives advice or recommendations to water system customers on how to protect their health when drinking water is considered unsafe.   These advisories are issued when the health risks to the consumers are sufficient, in the estimation of the water system or state or local health officials, to warrant such advice.

Health advisories usually take the form of a drinking water warning or boil water advisory.  Communication during these times is critical.  Health advisories should always be well thought out and provide very clear messages.

The Office of Drinking Water has put together a number of tools, including fact sheets, brochures, forms, and templates to help prepare for a health advisory. These are on the Web at:  http://www.doh.wa.gov/ehp/dw/Our_Main_Pages/purveyor_assist_2.htm

Section 8.
Response Actions for Specific Events

In any event there are a series of general steps to take:

- Confirm and analyze the type and severity of the emergency.

- Take immediate actions to save lives.

- Take action to reduce injuries and system damage.

- Make repairs based on priority demand.

- Return the system to normal operation.

The following tables identify the assessment, set forth immediate response actions, define what notifications need to be made, and describe important follow-up actions.

- Power outage

| # Assessment |  |
| --- | --- |
| Immediate actions |  |
| Notifications |  |
| Follow-up actions |  |

- Distribution line break

| # Assessment |  |
| --- | --- |
| Immediate actions |  |
| Notifications |  |
| Follow-up actions |  |

- Chlorine treatment equipment failure

| # Assessment |  |
| --- | --- |
| Immediate actions |  |
| Notifications |  |
| Follow-up actions |  |

- Source pump failure

| # Assessment |  |
| --- | --- |
| Immediate actions |  |
| Notifications |  |
| Follow-up actions |  |

- Microbial (coliform, E. coli) contamination

| # Assessment |  |
| --- | --- |
| Immediate actions |  |
| Notifications |  |
| Follow-up actions |  |

- Chemical contamination

| # Assessment |  |
| --- | --- |
| Immediate actions |  |
| Notifications |  |
| Follow-up actions |  |

- Vandalism

| # Assessment |  |
| --- | --- |
| Immediate actions |  |
| Notifications |  |
| Follow-up actions |  |

- Reduction or loss of water in the well

| # Assessment |  |
| --- | --- |
| Immediate actions |  |
| Notifications |  |
| Follow-up actions |  |

- Drought

| # Assessment |  |
| --- | --- |
| Immediate actions |  |
| Notifications |  |
| Follow-up actions |  |

- Flood

| # Assessment |  |
| --- | --- |
| Immediate actions |  |
| Notifications |  |
| Follow-up actions |  |

- Earthquake

| # Assessment |  |
| --- | --- |
| Immediate actions |  |
| Notifications |  |
| Follow-up actions |  |

- Hazardous materials spill in vicinity of sources or system lines

| # Assessment |  |
| --- | --- |
| Immediate actions |  |
| Notifications |  |
| Follow-up actions |  |

- Electronic equipment failure

| # Assessment |  |
| --- | --- |
| Immediate actions |  |
| Notifications |  |
| Follow-up actions |  |

Section 9.
Alternative Water Sources

Intertie to adjacent water supply system

| Water systems within one-quarter mile of our system | Feasibility of connecting |
| --- | --- |

Alternate source(s) of water

| Alternative sources | Names | Phone | Availability | Is the water safe for drinking? |
| --- | --- | --- | --- | --- |

Section 10.
Curtailing Water Usage

Curtailing water use

| Water curtailment measures | Actions |
| --- | --- |

Section 11.
Returning to Normal Operation

Returning to normal operations

| Action | Description and actions |
| --- | --- |